## Pointset Naming Schema
AC - AC | Discharge - Dschrg | Lift - Lift | Scene | - Scn
Adjust - Adj | Door - Dr | Limit - Lmt | Sensor | - Snsr
Air - Air | Dual - Du | Line - Ln | Serial | - Ser
Alarm - Alrm | Duct - Duct | Link - Lnk | Service | - Srv
Angle - Angl | Due - Due | Load - Ld | Setpoint | - Stpt
Apparent - App | Economizer - Econ | Local - Lcl | Shutdown | - Shtdwn
Around - Arnd | Enable - Enab | Lockout - Lck | Sink | - Snk
Audible - Aud | Energy - Enrgy | Low - Lo | Sleep | - Slp
Auto - Auto | Enrolled - Enrl | Mains - Mains | Smoke | - Smk
Available - Avail | Entering - Ent | Maintenance - Maint | Solar | - Slr
Average - Avg | Enthalpy - Enth | Manufacturer - Man | Space | - Spc
Azimuth - Az | Escalator - Esc | Maximum - Max | Speed | - Spd
Bag - Bag | Events per - Evntper | Measurement - Meas | Stack | - Stk
Band - Bnd | Exhaust - Exh | Message - Msg | Stage | - Stg
Battery - Bat | Extract - Ext | Meter - Mtr | Standby | - Stndby
Beacon - Beac | Factor - Fctr | Minimum - Min | State | - State
Boiler - B | Factored - Fctrd | Mixed - Mix | Station | - Stn
Building - Bldg | Fading - Fd | Mode - Md | Steam | - Stm
Button - Btn | Failure - Fail | Mode - Mode | Step | - Step
Bypass - Byp | Fan - Fan | Model - Mod | Stop | - Stop
Cautionary - Caut | Fault - Flt | Motion - Mtn | Storage | - Strg
Change - Chng | Feedback - Fdbk | Motor - Mot | Supply | - Sup
Charge - Chrg | Filter - Fltr | Name - Name | Switch | - Swtch
Chilled - Chld | Fire - Fire | Number - Num | System | - Sys
Chilled water - CW | Firmware - Firm | Occupied - Occ | Tape | - Tpe
Circuit - Cir | Floor - Flr | On - On | Temperature | - Temp
Circulation - Circ | Flow - Flw | Open - Opn | Thermal | - Thrml
Closed - Cls | Frequency - Freq | Out - Out | Thermostat | - Thrmstat
Coil - Coil | Fresh - Frsh | Overload - Ovld | Time | - Tim
Cold - Cold | Frost - Frst | Overridden - Over | Total | - Tot
Colour - Col | Full - Full | Panel - Pan | Trace | - Trc
Command - Cmd | Fume - Fum | Panel - Pnl | Transformer | - Tr
Common - Com | Gain - Gn | Percent - Pct | Travel | - Trvl
Compressor - Cmp | Gallery - Gal | Period - Per | Type | - Type
Condensate - Cond | Grains - Gr | Phase - Ph | Underfloor | - Undr
Confirmed - Conf | Group number - Grp | Piezoelectric - Piez | Unit | - Unit
Content - Cont | Harmonic - Hrm | Planned - Plnd | Unoccupied | - Unocc
Control - Cntrl | Heat - Heat | Position - Pos | Up | - Up
Cooling - Clg | Heating - Htg | Power - Pwr | Update | - Upd
Cooling - Cool | High - Hi | Pre - Pre | User | - Usr
Count - Cnt | Hold - Hld | Pressure - Pr | Valve | - Vlv
Critical - Crit | Hot - Hot | Proportional - Prp | Variable | - Var
Cumulative - Cum | Hot water - HW | Pump - Pmp | Velocity | - Vel
Current - Crnt | Hours - Hrs | Push - Push | Version | - Ver
Curtailment - Crtlmnt | Humidity - Hum | Rain - Rain | Vibration | - Vbr
Curve - Curv | Illuminance - Ill | Reactive - Reac | Voltage | - Vlt
Cut - Cut | In - In | Read - Rd | Volume | - Vlm
Damper - Dmpr | Incoming - Incom | Reference - Ref | Walk | - Wlk
DC - DC | Increase - Incr | Registers - Reg | Warm | - Wrm
Decrease - Dcr | Input - Inpt | Remote - Rem | Warning | - Warn
Delay - Dly | Instantaneous - Inst | Request - Rqst | Water | - Wtr
Demand - Dmnd | Intake - Intk | Requested - Rqstd | Wheel | - Whl
Details - Det | Integral - Int | Reset - Res | Zenith | - Zen
Detected - Detect | Isolation - Iso | Response - Rsp | Zone | - Zn
Dewpoint - Dwpt | Lag - Lag | Return - Rtrn
Differential - Dif | Lamp - Lmp | Reverse - Rev
Dimming - Dim | Last - Lst | Running - Run
Direction - Dir | Lead - Lead | Sash - Sash
Dirty - Drty | Leak - Lk | Save - Sv
Disable - Dsbl | Level - Lvl